PRE-CONSTRUCTION MEETING AGENDA

Project Name:	_________________________________

Location:	_________________________________

Date:	_________________________________

Agenda:

Pre-Construction Meeting shall not be held until the Contract Notice to Proceed has been issued to both the Design Consultant and the Contractor.

A.	Introductions: Design Consultant shall prepare and circulate an attendance sheet to obtain names, firms, phone numbers and/or e-mail addresses.

- Owner – [ List C/U, C/U Project Manager, SO Program Manager, OR, Safety Admin, Others]

- Consultant(s) – [List A/E Team, testing and/or inspection firms, others]

- Contractor

- Major subcontractors – [List mechanical, electrical, etc.]

B.	Purpose: Coordinate efforts of all parties involved and provide a clear understanding of the Contract Documents.

C.	Project Description: Provide a brief overview of the scope of Work for the project and highlight any pertinent items in the documents that require special attention.

D.	Milestone Dates:

- Notice to proceed – [Insert date]

- Construction milestones – [Insert dates]

- Project phases

  - Addition versus renovation – [Insert dates]

  - Hazardous material removal – [Insert dates]

  - Utility interruptions – [Insert dates]

- Substantial completion – [Insert dates]

- Liquidated damages – [Insert dates]

- Final completion – [Insert dates]

E.	Construction permit status

F.	Minnesota Department of Human Rights: Reference Form DIV004536 – article 1.3, paragraph 7.

  - Preconstruction Packet – submittal required to receive 1st payment

  - Monthly reporting

G.	Schedule:

- Work hours and after-hours work (evening or weekend) and campus breaks.

- Crew size [Insert minimum crew size anticipated]

- Liquidated damages apply if the work is not completed on time.

H.	Construction progress reports:

- Construction meetings

  - Frequency, time, and location

  - Distribution list

  - Contractor shall provide weekly updates and two week look ahead schedule of work.

- Field visit reporting requirements

H.	Communications

- Chain of Command: Campus Project Manager/Roof Design Consultant/Roofing Contractor/sub-contractors.

- Recommend the Contractor photograph the building and grounds existing interior and exterior conditions and document any existing damages prior to the start of work.

- Coordination of work: all mechanical/electrical/roofing/structural/masonry/window/sheet metal work as applicable to project.

- Notification of work: Notify Roof Design Consultant or other Owner Consultants a minimum of 5 days prior to initial start of roof work.

- The Contractor is responsible to make sure their equipment has a fume elimination system to reduce asphalt fumes.

- The Contractor shall locate the asphalt kettle as far away as possible from air intakes.

- Coordinate the shutdown of air handling units and provide temporary protection to eliminate asphalt fumes from entering the building.

- Emergency Contact List: Provide list of all key personnel for campus, design consultant and roofing contractor.  Discuss after hour contact procedure.

- Contractor shall stop work and immediately notify the Design Consultant and/or Owner if asbestos is found other than what is included in scope of work.

- Interior damage caused by any portion of the project work is the Contractor’s responsibility.

- Building walls at staging areas shall be protected against possible damage.

- ONLY C/U Project Manager approves changes in work.

I.	Submittals by Contractor

- All required product submittals shall be forwarded to and approved by the Design Consultant prior to performing work.

- Any required permits or licenses must be obtained and posted on site with a copy sent to the Design Consultant prior to the start of work.

- Construction Schedule – CPM format

- Cost breakdown/Schedule of Values

- Shop Drawings

  - Submission procedure

  - Reviews and approvals

- M.S.D.S. sheets

- Additional Subcontractors List reporting, DIV00.4336 - Attachment A-2

I.	Quality assurance

- Testing during construction

- Inspections & Observation

- Guarantees and Warranties

  - Provide per Contract Documents

  - Required for final payment

- Pre-Installation meetings

- Contractor initiate

H.	Scope changes

- Contractor Request for Information (RFI)

- Architectural Supplement Instructions (ASI)

- Proposal Request (PR)

  - Cost breakdown to include labor, material and specified mark-up

  - No lump sum

- Construction Change Directive (CCD)

- Change Order (CO)

I.	Safety and Security (Safety for both campus staff and Contractor.  Not all items will apply)

- Contractor shares Safety Plans

  - Lockout/Tagout Plan

  - Fire Prevention Plan

  - Construction Area Emergency Plan

  - C/U Emergency Plan

- Air Quality Issues (Need Silica Dust Control Plan if applicable-see campus Safety Admin)

- Maintenance of emergency exit routes

- Falling object protection

- Electrical Safety

- Confine Space Work

- Hearing Conservation Program

- Powered Industrial Trucks and Aerial Lifts

- Machine Guarding and Machines with Rotating Parts

- Material Handling including Slings and Hoists

- Personal Protective Equipment required:

  - hard hat or bump hat?	d)  hand protection

  - hearing			e)  feet

  - respiratory

- Excavation Activities

- Labeling of Secondary Containers

- Laser Use

- Compressed Gas Use

J.	Temporary facilities/site management

- Project signage

- Construction parking

- Construction limits and access

- Utilities – electricity, water, telephone, DSL

- Contractor trailer(s), toilets, dumpsters

- Hours of operation

- Policy for noise, radios, smoking and alcohol

- Site access for emergencies

- Posting of Prevailing Wage Rates

- Other

K.	Additional concerns

- Signing for deliveries

- Repair all damage

- Recycling

- Clean-up/trash removal

- Owner furnished items and work

- Respect for others

- Hazardous materials

- C/U Hot Works permitting process/procedure

- e-Builder – Contractor training and use

L.	Progress payment requests

- Timing (for work completed)

- Updated Project Schedule

- Prevailing Wage documentation

  - Submit every 2 weeks

  - Use Minnesota State approved form

- Retainer Percentage

- Supplemental agreements

- Signature-agency representative

- Final payment request

  - Punch list(s)

  - Tax Form (IC134)

  - Consent of Surety

  - Manufacturers’ guarantees

  - Maintenance manuals

  - Training

M.	As-built Record Documents

- Contractor - record to consultant

- Consultant - execute per agreement

N.	Tenth Month Review

- Warrantee items submitted by Owner

- Follow channels of communications

- All items completed prior to termination of warranty period